## Sheet1
Component Name | Category | Confidence | Source Types | Evidence Count | Image URLs | Guide Reference
AC Inlet | Connector | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
Fuse | Protection Device | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
Chassis Ground | Grounding | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
SWPS (RPS-500-24-C) | Power Supply | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PRI (Primary Side) | Power Supply Section | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
SEC (Secondary Side) | Power Supply Section | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
DC 24V Output | Power Output | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
Secondary Circuits (PCB) | Electronic Circuit | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
Metal Enclosure | Enclosure | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/PastedGraphic-1.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
INLET MANIFOLD | Pneumatic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PRESSURE SENSOR SPT25-10-0200A | Sensor | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
NC VALVE 181168 | Valve | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
MECHANICAL PREREGULATOR | Pneumatic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
MAIN MANIFOLD | Pneumatic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
E-REGULATOR ITV0050-3BL | Pneumatic Regulator | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PRESSURE RELIEF SAFETY VALVE (125 PSI) | Safety Device | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PARTICULATE FILTER | Filter | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
NO VENT VALVE 126419 | Valve | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
AIR BALAST AVT-32-16 | Pneumatic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
MAC VALVE (VENT VALVE) | Valve | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PISTON MANIFOLD | Pneumatic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
THERMISTOR 10K 235-1483-ND | Sensor | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PNEUMATIC VALVE DOWN 181168 | Valve | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PNEUMATIC VALVE UP 181168 | Valve | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PNEUMATIC COMPRESSION SYSTEM | Pneumatic System | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
2X CYLINDER SWITCH M9P | Switch | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
DISTRIBUTION MANIFOLD | Pneumatic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
VALVE 6724 / 299249 | Valve | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
8 PORT CARTRIDGE | Cartridge Holder | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PRESENCE SENSOR | Sensor | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
CARTRIDGE HOLDER AND DRAWER SUB ASSEMBLY | Mechanical Assembly | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
DRAWER MOTOR | Motor | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
BASEPLATE AND SKINS | Mechanical Structure | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
TOUCHSCREEN | User Interface | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
BARCODE SCANNER | Peripheral Device | high | guide, image | 2 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D | CellFE_Infinity_MTx_Operating_Manual.docx
NFC READER | Peripheral Device | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
USB HUB | Electronic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
MAIN PCB | Printed Circuit Board | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
DISCRETE ELEC COMPONENT | Electronic Component | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
SUB ASSEMBLY | Assembly | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
PCB | Printed Circuit Board | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
INTEL NUC CH-42-1.2 | Computer | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
3X USB PASSTHRU 1698-01C | Connector | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
POWER POWER ENTRY MODULE FPYSSA106FBR | Power Entry Module | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
POWER SUPPLY RPS-500-SF | Power Supply | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
FAN 1688-1554-ND | Cooling Fan | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
FAN 1053-1243-ND | Cooling Fan | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
LOW FLOW SENSOR SFC5500-50SCCM | Flow Sensor | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
HIGH FLOW SENSOR SFC5500-0.5SLM | Flow Sensor | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
BACKPLANE | Mechanical/Electrical Interface | high | image | 1 | https://stintertekesusdev.blob.core.windows.net/cdr-test/CFE_block_diagram.png?sp=r&st=2025-12-17T13:00:21Z&se=2040-12-30T21:15:21Z&sv=2024-11-04&sr=c&sig=IvefAZb2x6KvlYtb22W5VK9DoQ2PDosWYtmtZO1pPCM%3D
Infinity MTx Platform | Assembly | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Infinity Microfluidic Processing Assembly (MPA) | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Sterilized Membranes | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Actuating Lid | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Microfluidic Channels | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Chevron Ridge | Component | high | guide | 2 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Enclosure | Component | high | guide | 3 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Infinity MTx device | Assembly | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Front Panel | Enclosure | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
User Interface Touchscreen | Human-Machine Interface | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Sample Loading Tray | Mechanical Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Exhaust Air Vents | Ventilation | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Main Body Enclosure | Enclosure | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
MPA (Microfluidic Processing Assembly) | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Optimizer Kit | Accessory/Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Power Supply | Electrical Component | high | guide | 4 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Printed Circuit Board (PCB) | Electrical Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Internal Instrumentation | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
MPA Lid Latch | Mechanical Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
MPA Lid | Enclosure Component | high | guide | 2 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Air Inlet Port | Fluidic Interface | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Air Outlet Port | Fluidic Interface | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Filter Membrane (0.2 um) | Filtration Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Collection Chamber | Assembly | high | guide | 3 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Collection Chamber Lid | Enclosure Component | high | guide | 2 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Collection Chamber Latch | Mechanical Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Sample Chamber | Fluidic Subsystem | high | guide | 2 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
Microfluidic Chip | Microfluidic Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Microfluidic Channel | Microfluidic Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Compressed Air Inlet | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Push-to-Connect Fitting | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Tubing | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Air Intake Fan | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Power Connection Port | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Power Cord (C13 to 5-15) | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Power Switch | Component | high | guide | 2 |  | CellFE_Infinity_MTx_Operating_Manual.docx; CellFE_Infinity_MTx_Operating_Manual.docx
USB-A Connection Port | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
LAN Connection Port | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Lid Latch | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Membrane Filter (0.2 um) | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Sample Chambers | Assembly | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Internal Electrical Components | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Channel | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Collection Chamber Latches | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Ventilation Slots | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Rear Connections | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Connection Lines and Cables | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Compressed Air Connection | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Compressor | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Compressed Air Line | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Infinity Instrument | Subsystem | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Carrying Case | Assembly | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Foam Padding | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Instrument Screen | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Enclosure/Casing | Assembly | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Tray | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Rubber Feet | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx
Compressed Air Cylinder | Component | medium | guide | 1 |  | CellFE_Infinity_MTx_Operating_Manual.docx